## Metadata_structure
Tag tools meta data structure
Level 1 | Level 2 | Level 3 | Level 4 | Description | Required | Data exchange standard equivalent | Table | Field
info
Level 1 | Level 2 | Level 3 | Level 4 | Description | Required | Data exchange standard equivalent | Table | Field
info | depid |  |  | Deployment ID, eg.mn12_126a, Used to link tag metadata to tag data | User input required
Level 1 | Level 2 | Level 3 | Level 4 | Description | Required | Data exchange standard equivalent | Table | Field
info | data
info | data | source |  | Source data file or files name, e.g. mn14_35a.dtg, or mn12_126a | Derived from data during import |  |  | No equivalent field
info | data | datetime |  | Date time of creation |  |  | Data Centre | Date modified
info | data | nfiles |  | Number of source files | Derived from data during import |  |  | No equivalent field
info | data | format |  | Format of source data files, e,g. CSV, BIN, WAV, DTG, OBJ, TXT | Derived from data during import |  |  | No equivalent field
info | data | fsize |  | File size, for check sum? | Derived from data during import |  |  | No equivalent field
Level 1 | Level 2 | Level 3 | Level 4 | Description | Required | Data exchange standard equivalent | Table | Field
info | device |  |  |  |  | Device table | Device table
info | device | serial |  | Device serial number | User input required | Missing fields from device include code_map, ping_code,ptt, device_wmo_ref | Device table | serial_number
info | device | make |  | Device manufactuer | User input required |  | Device table | manufacturer
info | device | type |  | Type of device, can only take the following values: archival, pop-up, satellite, acoustic tag, or acoustic receiver. | User input required |  | Device table | decvice_type
info | device | model | name | Model name, e.g. 3MPD3GT, D4W | User input required |  | Device table | model
info | device | model | version | Model subtype or version, e.g. W2000, v4 | User input required |  | Device table | model
info | device | url |  | URL to tag model specifications. | Optional |  | Device table | infourl
info | device | cmap |  | For acoustic tags only (e.g. ‘A69-9002’). Additional database constraints can be generated based on this value since some code maps are pingers only and some are sensors only (https://github.com/aodn/aatams/issues/240 - issuecomment-214596557). | Optional |  | Device table | code_map
info | device | ping |  | For acoustic tags only | Optional |  | Device table | ping_code
info | device | ptt |  | Platform Transmitting Terminal (PTT) number for Argos transmission. For pop-up and satellite tags only. |  |  | Device table | ptt
info | device | wmo |  | World Meteorological Organization (WMO) number allocated to this device. For pop-up and satellite tags only. | Optional |  | Device table | code_map
Level 1 | Level 2 | Level 3 | Level 4 | Description | Required | Data exchange standard equivalent | Table | Field
info | sensors |  |  |  |  | Instruments table, but think that sensors is better in our case | Instruments
info | sensors | firm |  | Firmware version | User input required for some tags |  | Instruments | firmware_version
info | sensors | soft |  | Software version | User input required for some tags |  | Instruments | software_version
info | sensors | config |  | Parameter settings used to configure the tag for deployment; could also provide users with the possibility to upload a text file of specifications. | User input required for some tags |  | Instruments | configuration_parameters
info | senors | list |  | List of sensors on each tag, e.g. Pressure, Temperature, Light, Flouresence, Position (Argos, GPS, Geo-location), Sonar | Derived from import | List replaces a set of binary field for each sensor | Instruments | Pressure, Temperature, Light
info | sensors | cal | method | Calibration procedure for each sensor if applicable
info | sensors | cal
Level 1 | Level 2 | Level 3 | Level 4 | Description | Required | Data exchange standard equivalent | Table | Field
info | animal |  |  |  | User input required | Animal table | Animal table
info | animal | id |  | Catologue ID, Band ID, Flipper Tag ID? |  |  | Animal table | animal_id
info | animal | species | code | Two character species identifier used in the depid. | Derived from depid |  |  | No equivalent
info | animal | species | common | Common or vernacular name for species | User input required |  | Animal table
info | animal | species | science | Scientific name | User input required |  | Animal table
info | animal | lifehist | sex | Sex of animal, male, female, unkown | User input required |  | Animal table | Sex
info | animal | lifehist | stage | Animal life stage (e.g. adult, juvenile, subadult, weaner) | User input required |  | Animal table | lifeStage
info | animal | lifehist | age | Animal age estimate | User input required |  | Animal table | ageUnit, value, estimate
info | animal | lifehist | status | Gravid, suckling etc | User input required |  |  | No equivalent
info | animal | dbase | id | Animal ID in database, could be a cat | User input required |  |  | No equivalent
info | animal | dbase | url | URL to database holding photo-id, tag & release data | User input required |  |  | No equivalent
Level 1 | Level 2 | Level 3 | Level 4 | Description | Required | Data exchange standard equivalent | Table | Field
info | dephist |  |  | Capture, Deployment & Recovery History |  | Animal Surgery, Release & Recovery
info | dephist | device | tzone | Time zone of device | User input required for those tags where this is not set automatically |  |  | No equivalent
info | dephist | device | regset | Regional setttings for device | User input required for those tags whose date time formats adopt the regional settings of the host computer |  |  | No equivalent
info | dephist | capture | locality | Locality, State/Territory, Country of Capture | User input required |  | Animal Release &Recovery | animal_capture_locality
info | dephist | capture | location | Latitude & Longitude of Capture (decimal degrees) | User input required |  | Animal Release &Recovery | animal_capture_location
info | dephist | capture | datetime | UTC Date & Time of Capture | User input required |  | Animal Release &Recovery | animal_capture_datetime
info | dephist | deploy | locality | Locality, State/Territory, Country of Deployment | User input required |  | Animal Release &Recovery | deployment_locality
info | dephist | deploy | location | Latitude & Longitude of Deployment | User input required |  | Animal Release &Recovery | deployment_location
info | dephist | deploy | datetime | UTC Date & Time of Deployment | User input required |  | Animal Release &Recovery | deployment_datetime
info | dephist | deploy | method | Describe how the tag was attached (e.g. glued, implant). | User input required |  | Surgery | attachment_method
info | dephist | deploy | details | Describe tag attachment (e.g. location of tag on animal, use of anaesthetics). | User input required |  | Surgery | attachment_details
info | dephist | deploy | tagger | ID of the person who deployed the device on the animal. | User input required |  | Animal Release &Recovery | tagger_id
info | dephist | recov | locality | Locality, State/Territory, Country of Recovery | User input required |  | Animal Release &Recovery | reocvery_locality
info | dephist | recov | location | Latitude & Longitude of Recovery | User input required |  | Animal Release &Recovery | reocvery_location
info | dephist | recov | datetime | UTC Date & Time of Recovery | User input required |  | Animal Release &Recovery | reocvery_datetime
info | dephist | recov | details | Describe the recovery event (e.g. damage on tag, biofouling, tag sent back to manufacturer for refurbishing). | User input required |  | Animal Release &Recovery | deployment_comments
Level 1 | Level 2 | Level 3 | Level 4 | Description | Required | Data exchange standard equivalent | Table | Field
info | project |  |  |  |  | Project table
info | project | id |  | Optional | Optional |  | Project | id
info | project | name |  | Project Name | User input required |  | Project | title
info | project | details |  | Description of project including background, methods, and objectives. | User input required |  | Project | summary
info | project | permit |  | Deployments allowed under permit, details and holder | User input required | No equivalent | No equivalent | No equivalent
info | project | ethics |  | Ethics statement | User input required | No equivalent | No equivalent | No equivalent
|  | url |  | Project URL | User input required |  | Project | infourl
info | project | location |  | Bounding box for all (lat long) for all associated deployments | User input required |  | Project | location
info | project | datetime |  | Start & End time for all project related deployments | User input required |  | Project | timestamp_start
Level 1 | Level 2 | Level 3 | Level 4 | Description | Required | Data exchange standard equivalent | Table | Field
info | provider |  |  |  |  | Project & Datacentre tables
info | provider | name |  | Name of data provider / license holder | User input required |  | Data Centre | title
info | provider | details |  | Affiliation, etc | User input required |  | Data Centre | details
info | provider | email |  | Email of data provider | User input required | No equivalent | No equivalent | No equivalent
info | provider | license |  | Describe the data center restrictions to data access and distribution. | User input required |  | Data Centre | License
info | provider | cite |  | Citation to be used in publications using the data from the data center should follow the following format: “DataCenterName. [year-of-data-download], [Title], [Data access URL], accessed [date-of-access]”. | User input required |  | Data Centre | Citation
info | provider | doi |  | DOI | User input required | No equivalent | No equivalent | No equivalent
info | provider | distrib |  | Statement describing data distribution policy (e.g. ‘You accept all risks and responsibility for losses, damages, costs and other consequences resulting directly or indirectly from using the data from this project’). | User input required |  | Data Centre | dsitrbution_statement
info | provider | url |  | URL to data provider website | User input required
Level 1 | Level 2 | Level 3 | Level 4 | Description | Required | Data exchange standard equivalent | Table | Field
info | udm |  |  | User defined metadata |  | No equivalent | No equivalent | No equivalent
info | udm | export |  | Binary switch specifying if the data user wants the data to published along with the rest of the metadata |  | No equivalent | No equivalent | No equivalent